# An Alternative EV Charging Strategy for Alexandria

Comparing a public-Level-2-first approach with DC fast charging and residential cross-curb access

Working policy analysis | August 2026

# Top-line capacity requirement

The physical build-out difference is large. Assuming 35% of EV owners lack conventional home charging and shared ports average 30% utilization, an L2-first strategy requires thousands of neighborhood ports as EV adoption rises. A DC-fast-first backstop requires roughly one-tenth as many shared ports, and enabling half of the affected households to charge across the curb cuts the remaining fast-charging requirement in half again.

| Citywide EV penetration | Affected EV owners | L2-first ports | L3-only ports (30-min) | 50% cross-curb + L3 | Approx. 4-port L3 sites |
| --- | --- | --- | --- | --- | --- |
| 25% | 10,525 | 1,502 | 160 | 80 | 21 |
| 50% | 21,051 | 3,004 | 320 | 160 | 41 |
| 100% | 42,102 | 6,008 | 641 | 320 | 81 |

At 25% EV penetration: approximately 1,502 L2 ports would be required for the affected cohort under L2-first, versus about 160 30-minute L3 ports. If half of affected households can use cross-curb home charging, the requirement falls to about 80 L3 ports, or roughly 21 four-port sites.

| Home / cross-curb annual burden | $1,128 | Lowest-cost case; charging occurs where the vehicle is already parked |
| --- | --- | --- |
| Mature neighborhood L2 burden | $5,732 | 30¢/kWh; 30-min round trip; 20% occupied/broken failure rate; charging dwell fully productive |
| Optimistic L3 annual burden | $5,409 | 40¢/kWh; 20-min round trip; 30-min charging stop |
| L2 vs. L3 | L2 +$322/yr | Under the revised mature-network assumptions, optimistic L3 is slightly less burdensome to the driver |

# Executive summary

Alexandria can reduce both infrastructure requirements and resident burden by treating home charging as the default whenever it can be safely enabled, and using DC fast charging as the principal high-throughput shared-charging backstop. Public neighborhood Level 2 remains useful, particularly at destinations and for residents whose cars naturally dwell near a charger, but an L2-first strategy requires many more physical ports and remains time-intensive even when the charging dwell itself is fully productive.

Under the revised mature-network assumptions, an EV owner without a driveway bears an annual charging-related economic burden of about $1,128 with permitted cross-curb home charging, $5,732 with neighborhood Level 2, and $5,409 with routine DC fast charging. The L2 scenario is still deliberately favorable: the charger is assumed to be within a 15-minute trip each way, the vehicle can be left for three hours while the driver is fully productive, and the only reliability penalty is a 20% chance that an attempted session fails because the equipment is occupied or broken.

The revised result changes the strategic comparison. Neighborhood L2 now costs about $322 more per affected driver per year than the optimistic L3 scenario, while L3 still requires roughly 9.4 times fewer shared ports at equal utilization. Cross-curb access is still dramatically cheaper than either public strategy because it eliminates dedicated charging trips entirely.

# 1. Scope and assumptions

This analysis focuses on Alexandria EV owners who lack a driveway or dedicated off-street parking and therefore cannot automatically install conventional home charging. It compares three strategies for meeting their routine annual energy need.

| Input | Home / cross-curb | Mature neighborhood L2 | DC fast / L3 |
| --- | --- | --- | --- |
| Annual driving | 12,000 mi | 12,000 mi | 12,000 mi |
| Vehicle energy use | 0.30 kWh/mi | 0.30 kWh/mi | 0.30 kWh/mi |
| Annual energy | 3,600 kWh | 3,600 kWh | 3,600 kWh |
| Electricity price | $0.13/kWh | $0.30/kWh | $0.40/kWh |
| Session energy | As needed | 28.8 kWh | 45 kWh |
| Successful sessions/year | Not modeled | 125 | 80 |
| Successful-trip travel | 0 | 15 min each way | 10 min each way |
| Charging dwell | While parked at home | 3 hours, 100% productive | 30 minutes, nonproductive |
| Failure / unavailability | At home | 20% per attempt | Assumed 0% |
| Expected failed L2 attempts | n/a | 31.3/yr | n/a |
| Value of time | $59.54/hr | $59.54/hr | $59.54/hr |

The L2 scenario is intended to represent a mature, relatively dense network. A resident can reach a charger in 15 minutes, park, and walk home or to work, so the entire three-hour dwell is treated as productive. The 20% failure rate captures a charger being occupied or unavailable. As in the companion paper, expected failed attempts are calculated as successful sessions multiplied by failure probability divided by success probability.

# 2. Annual cost to an EV owner without a driveway

| Strategy | Electricity | Nonproductive time | Time cost | Other annual cost | Total burden |
| --- | --- | --- | --- | --- | --- |
| Home / cross-curb | $468 | 0.0 hr | $0 | $660 | $1,128 |
| Mature neighborhood L2 | $1,080 | 78.1 hr | $4,652 | $0 | $5,732 |
| Optimistic L3 | $1,440 | 66.7 hr | $3,969 | $0 | $5,409 |

For the L2 user, the hidden time burden consists of two pieces: 62.5 hours per year traveling to and from 125 successful sessions, plus about 15.6 hours from an expected 31.3 failed attempts. That produces 78.1 nonproductive hours and about $4,652 of annual time burden even though the three-hour charging dwell itself is valued at zero.

The key comparison is now inverted. The mature L2 scenario costs about $5,732/year, slightly above the optimistic L3 scenario at $5,409/year. Both remain far above home/cross-curb charging at $1,128/year.

# 3. Shared charging infrastructure required

For capacity planning, the model assumes 30% average port utilization. A three-hour L2 port can support 876 successful charging sessions per year at that utilization. A 30-minute L3 port can support 5,256 sessions per year at the same utilization. DOE-observed 42-minute DC fast charging is included as a sensitivity.

| Metric | Public L2 | L3, 30-min case | L3, 42-min sensitivity | Implication |
| --- | --- | --- | --- | --- |
| Session duration | 180 min | 30 min | 42 min | DOE observed paid DCFC average is 42 minutes |
| Sessions/port/year at 30% | 876 | 5,256 | 3,754 | Physical turnover |
| Routine users supported/port | 7.0 | 65.7 | 46.9 | At 3,600 kWh/user-year |
| Capacity vs L2 | 1.0x | 9.4x | 6.7x | Users served per shared port |

# 4. Alexandria-wide charger requirements by EV penetration

The citywide scenarios use approximately 120,291 personal-use vehicles as the working fleet denominator and assume that 35% of EV owners lack practical conventional home charging. The 35% figure is an illustrative planning assumption rather than a measured City statistic.

| EV penetration | Total EVs | Affected EVs (35%) | L2 ports if L2-first | L3 ports, 30-min | L3 ports, 42-min |
| --- | --- | --- | --- | --- | --- |
| 5% | 6,015 | 2,105 | 300 | 32 | 45 |
| 10% | 12,029 | 4,210 | 601 | 64 | 90 |
| 25% | 30,073 | 10,525 | 1,502 | 160 | 224 |
| 50% | 60,146 | 21,051 | 3,004 | 320 | 449 |
| 75% | 90,218 | 31,576 | 4,506 | 481 | 673 |
| 100% | 120,291 | 42,102 | 6,008 | 641 | 897 |

The scale implication is substantial. At 50% EV penetration, an L2-first strategy would require roughly 3,004 neighborhood ports for the modeled affected cohort. The equivalent 30-minute L3 requirement is about 320 ports. At full fleet electrification, those figures rise to approximately 6,008 L2 ports versus 641 L3 ports.

# 5. Cross-curb charging changes the infrastructure requirement

A cross-curb permit does more than provide a cheaper charging option to the participating household. It removes that household's routine charging demand from the shared public network.

| EV penetration | Affected EVs | If 50% shift home | Remaining L3 users | L3 ports, 30-min | 4-port L3 sites |
| --- | --- | --- | --- | --- | --- |
| 5% | 2,105 | 1,053 | 1,053 | 16 | 5 |
| 10% | 4,210 | 2,105 | 2,105 | 32 | 9 |
| 25% | 10,525 | 5,263 | 5,263 | 80 | 21 |
| 50% | 21,051 | 10,525 | 10,525 | 160 | 41 |
| 75% | 31,576 | 15,788 | 15,788 | 240 | 61 |
| 100% | 42,102 | 21,051 | 21,051 | 320 | 81 |

# 6. Aggregate burden on Alexandria EV owners

The following table multiplies per-driver annual burden by the affected 35% cohort. These are not City expenditures. They represent household electricity, annualized home-equipment/insurance costs where applicable, and the monetized value of charging-related time.

| EV penetration | Affected owners | L2-first burden | L3-only burden | 50% home + 50% L3 | If all affected can charge home |
| --- | --- | --- | --- | --- | --- |
| 5% | 2,105 | $12.1M | $11.4M | $6.9M | $2.4M |
| 10% | 4,210 | $24.1M | $22.8M | $13.8M | $4.7M |
| 25% | 10,525 | $60.3M | $56.9M | $34.4M | $11.9M |
| 50% | 21,051 | $120.7M | $113.9M | $68.8M | $23.7M |
| 75% | 31,576 | $181.0M | $170.8M | $103.2M | $35.6M |
| 100% | 42,102 | $241.3M | $227.7M | $137.6M | $47.5M |

Under this revised L2 scenario, there is no longer a cross-curb break-even threshold against L2-first. The optimistic L3-only case is already about $322 per driver per year cheaper than mature neighborhood L2. Every additional household that can safely shift from L3 to home/cross-curb charging lowers both the shared-infrastructure requirement and the average resident burden further.

# 7. Interpretation

• A mature L2 network can make the three-hour dwell essentially costless in time only if chargers are dense enough that users can park near home or work. Achieving that convenience itself requires a large physical build-out.

• Even after granting fully productive dwell time, a 30-minute access trip and a 20% occupied/broken failure rate raise neighborhood L2 above the optimistic L3 case in annual user burden.

• L3 is far more infrastructure-efficient. At equal utilization, a 30-minute L3 port supports roughly nine times as many routine users as a three-hour L2 port.

• Cross-curb access remains the strongest option for eligible households because it eliminates dedicated charging trips and removes routine demand from the public network entirely.

• The strongest portfolio is therefore home charging wherever safely feasible, distributed L3 as the high-throughput shared backstop, and L2 where vehicles naturally dwell for several hours rather than as the default substitute for residential access.

# 8. Policy option

An alternative to an L2-first strategy would have three components: (1) establish a residential cross-curb/right-of-way charging permit for households without off-street parking where a safe installation is feasible; (2) actively facilitate additional multi-port DC fast-charging sites in geographically distributed locations; and (3) retain public L2 charging as a targeted complement at destinations and neighborhoods where long dwell is naturally compatible with parking behavior.

# Conclusion

The revised mature-L2 scenario illustrates the structural challenge of using shared Level 2 charging as a substitute for home charging. Even with a charger near the user's home or workplace and a completely productive three-hour dwell, 125 annual charging trips plus a modest 20% failure rate create about 78 hours of nonproductive time per driver each year. The resulting annual burden of about $5,732 is slightly higher than the optimistic L3 case and more than five times the time burden of home charging, which has no recurring charging-trip requirement.

The infrastructure burden is even more pronounced. At 25% EV penetration, the modeled affected population requires roughly 1,500 L2 ports if neighborhood L2 carries routine charging demand, compared with about 160 30-minute L3 ports. Allowing half of affected households to charge across the curb cuts the remaining L3 requirement to roughly 80 ports. This suggests that Alexandria can reduce both resident burden and public-infrastructure scale by enabling home charging where safe, building out high-throughput fast charging, and using public L2 selectively rather than as the dominant substitute for home access.

# Sources and notes

1. Companion analysis: Cost of Charging for Alexandria Residents Without Off-Street Parking. The source paper uses 12,000 annual miles, 0.30 kWh/mile, 3,600 kWh/year, and a $59.54/hour time value; it also defines the 45 kWh fast-charge session and 28.8 kWh three-hour Level 2 session used here.

2. City of Alexandria, Electric Vehicles in Alexandria (2026). The City states that curbside charging is intended to help residents without a dedicated driveway or garage and residents in multifamily communities; the initial program allows up to 60 chargers during the first two years. https://www.alexandriava.gov/energy/electric-vehicles-in-alexandria

3. City of Alexandria, Electric Vehicle Charging Infrastructure Readiness Strategy. The strategy distinguishes residential, workplace, public Level 2, and DC fast charging and recommends matching charging power to dwell time. https://www.alexandriava.gov/sites/default/files/2024-06/alexandria_evrs_final.pdf

4. U.S. Department of Energy, Fact of the Week #1319 (Dec. 4, 2023). Paid DC fast charging sessions in the cited dataset averaged 42 minutes and 22 kWh. The main L3 scenario in this paper intentionally uses a more favorable 30-minute session; the 42-minute result is shown as a sensitivity. https://www.energy.gov/cmei/vehicles/articles/fotw-1319-december-4-2023-ev-charging-paid-dc-fast-charging-stations-average

5. City of Alexandria, FY 2026 Budget Q&A #068 and related vehicle personal-property data. The model uses approximately 120,291 personal-use vehicles as a working citywide fleet denominator. https://www.alexandriava.gov/budget-memos-fy26/fy-26-budget-qa-068-how-many-vehicles-receive-100-subsidy-under-the-current

Modeling caveats: The 35% share of EV owners without practical conventional home charging is illustrative, not a measured City statistic. The 30% port-utilization assumption is used solely to compare infrastructure requirements. The L2 20% failure rate is a scenario assumption representing occupied or broken equipment, not a measured Alexandria failure rate. The analysis monetizes time using household income as in the companion paper; this is an economic-burden measure, not an out-of-pocket bill. The model does not include public charger construction costs, grid-upgrade costs, parking fees, idle fees, queues beyond the stated failure scenario, or differences in battery charging curves.